## Cover Page
CLIENT NAME
Project Name
Date: | dd/mm/yy
ESP: | ESP NAME
| S.N. | Item | Review Open / Closed | Active Status | Date of Last Status | ESP Rev
| 1 | M&V Plan Review | Open | Round 1
| 2 | M&V Calculation Workbook Sample | Open | Round 1
| 3 | M&V Report Sample | Open | Round 1
| Consultant Sign-off: |  |  |  | Client Sign-off:
| Aref Abouzahr |  |  |  | CLIENT POC NAME
| CEO, Ark Energy LLC |  |  |  | CLIENT POC TITLE
| Date: |  |  |  | Date:
All information is strictly confidential and any use of this material without permission is strictly prohibited
Not received
Not Applicable
Pending
|  | Open | Pending |  | Round 1
|  | Closed | Completed |  | Round 2
|  |  | Not Applicable |  | Round 3
|  |  | Not Required Now |  | Round 4
Review closed
Round 5
Round 6
Waivered
Round 8

## 1. M&V plan_V2.0
M&V Plan Requirements - Review Sheet
Ark sign-off
Facility Name: |  |  |  | Reviewer | arkAI | Approver
Ref. No.:
Submittal |  | M&V plan
Originator of the Submittal:
Reference of Originator
Round | Issued On | Received on | Reviewed on | Assessment | Comments |  |  | ESP Rev | ESP Submissions
1
2
3
[8 empty] | Round 1 |  | Round 2 |  | Round 3 |  | Round 4
Date of Comments
SN | Consultant's Notes |  |  |  |  | Included | Active Status | Consultant's Comments | ESP's Comments | Consultant's Notes | ESP's Comments | Consultant's Notes | ESP's Comments | Consultant's Notes | ESP's Comments
0 | General Comments
0.1 | Is the M&V Plan well structured? (e.g., page numbers, table numbers, figure numbers, etc.)
1 | Facility and Project Overview IGA
1.1 | Are the facility description and project scope adequate and clear?
1.2 | Are project audit and engineering & design documents available?
2 | Energy Conservation Measure Intent IGA
2.1 | Are the selected ECMs in this section the same as the ones selected during IGA?
2.2 | Are the ECM description and savings overview clear?
3 | Selected M&V Option and Measurement Boundary
3.1 | Is the M&V guideline/protocol reference appropriately selected? (IPMVP 2022)
3.2 | Is the Measurement boundary clearly identified?
3.3 | Are the interactive effects quantified?
3.4 | Is the selected M&V option clearly justified? Do M&V activities match the selected option?
4 | Baseline: Period, Energy and Conditions
4.1 | Has the Baseline Period been clearly identified? (start and end date, energy consumption data, utility billing cycles, energy costs calculated and tariff rates used, etc.)
4.2 | Is an overview of the current condition of the facility and facility equipment included?
4.3 | Are the required independent and operational data included?
4.4 | Are the static factors coinciding with the energy data identified?
5 | Reporting Period, Review Process and Frequency PLAN
5.1 | Has the Reporting Period been clearly identified? (number of years as per the ESPC agreement, start and end date; same utility billing cycles as the Baseline Period)
5.2 | Is the process of submission & review of M&V reports clearly described, including frequency of reporting as per the specified period?
6 | Baseline, Routine, and Non-Routine Adjustments PLAN
6.1 | Is the basis for adjustment clearly defined? (a set of conditions to which all energy measurements will be adjusted)
6.2 | Is the data required and methodology for adjusting energy use reasonable? (applies to both routine and non-routine adjustments)
6.3 | Routine Adjustments
6.3.1 | Are routine adjustments clearly identified and described, including what data and calculations are required to quantify such adjustments? (in case of expected events not directly related to the ECMs but affecting energy consumption, as well as their impact and basis of adjustment)
6.3.2 | Is the basis/trigger for each routine adjustment clearly defined?
6.3.3 | Are all routine adjustments explicitly identified and distinct from non-routine adjustments?
6.3.4 | Is the adjustment method/formula stated and unambiguous (including units and sign conventions)?
6.3.5 | Is uncertainty/accuracy addressed for routine adjustments?
6.3.6 | In case of regression modelling, is the regression equation based on baseline data correct, and is it statistically significant based on IPMVP and ASHRAE guidelines?
6.4 | Non-Routine Adjustments
6.4.1 | Are non-routine adjustments clearly identified and described, including what data plus calculation methodology are required to quantify such adjustments? (in case of unexpected events not directly related to the ECMs but affecting energy consumption)
6.4.2 | Is each non-routine adjustment clearly described and technically justified?
6.4.3 | Is the trigger/event requiring each non-routine adjustment clearly defined?
6.4.4 | Is the calculation methodology clearly stated (approach, assumptions, and data sources)?
6.4.5 | Is the baseline modification approach defined (temporary vs permanent adjustment)?
6.4.6 | Is there a risk of double counting with routine adjustments or other non-routine adjustments (NRAs)?
6.4.7 | Is documentation and supporting evidence required and referenced?
7 | Calculation Methodology and Analysis Procedure
7.1 | Were all calculation procedures for the baseline adjustments clearly described? (data analysis procedure, algorithms and assumptions to be used in reporting) IGA and PLAN
7.2 | Was the methodology for calculating the Baseline Period clearly described? IGA and PLAN
7.3 | Was the methodology for describing baseline adjustments (routine and non-routine) clearly described? PLAN
7.4 | Was the methodology for calculating savings clearly described? PLAN
7.5 | Was the error analysis or uncertainty clearly described? PLAN
7.6 | Are all manipulations (organization) of data properly documents and follow general engineering practices? PLAN
8 | Energy Prices PLAN
8.1 | Are the energy prices and tariff rates clearly identifies for the utility consumption (electricity, solar, water, diesel/gas, CHW, etc.)
8.2 | Is there a plan outlining how prices will be adjusted annually, if required, with justification for both yes and no cases?
9 | Meter Specifications PLAN
9.1 | Are the meters listed including manufacturer, model and general specs? (For utility and non-utility meters)
9.2 | Is each meter's full scale value, units and % accuracy/resolution included along with RSB tolerance?
9.3 | Are the meters calibrated and commissioned?
9.4 | Is there a plan described for mitigation of any lost data?
10 | Monitoring Responsibilities PLAN
10.1 | Are the responsibilities for recording and reporting the energy data, independent variables and static factors within the measurement boundary identified during the Reporting Period, in addition to any witnessing or site visit requirements?
11 | Expected Accuracy PLAN
11.1 | Are the savings uncertainties identified? (sources of error that might be associated with data measurement, capture, sampling and analysis)
11.2 | Are the uncertainties properly categorized into sampling, measurement, modelling type?
11.3 | Is overall uncertainty calculated? (this assessment should include qualitative and any feasible quantitative measures of the level of uncertainty in the measurements and adjustments to be used in the planned M&V report)
12 | Budget PLAN
12.1 | Are M&V costs including costs of setup, data gathering, analysis, and reporting identified and reasonably established?
13 | Quality Assurance, Future Measurements and Resolving Disputes PLAN
13.1 | Is a QA/QC procedure for reporting and documentation in place as per IPMVP?
14 | Risk Assessment
14.1 | Is the risk assessment comprehensive and does it cover all material technical, operational, and data-related risks?
14.2 | Are risks (e.g., data gaps, equipment failure, operational changes, baseline drift) clearly defined with impact on M&V results?
14.3 | Are mitigation measures clearly defined, technically appropriate, and proportionate to the risk level?
15 | Substitute meter mapping for failure scenario
15.1 | Is there a meter mapping described for mitigation of any lost data or meter failure?
16 | Appendices
16.1 | Does the appendix define the minimum required supporting documents?
16.2 | Is the list of raw data to be shared by the ESP during the M&V reporting period clearly defined and scoped to the relevant ECMs, related equipment, and building type (e.g., excluding chiller data for buildings without DCP)?
16.3 | Are relevant equipment specifications included (e.g., chillers and major systems)?
16.4 | Where a chiller is presented as an ECM, are the required matrices or performance tables provided?
16.5 | Is all supporting data relevant to the M&V plan included?
17 | Overall Compliance
17.1 | Does the M&V plan adhere to IPMVP standards?
|  |  | NA | Not Approved
|  |  | IR | Incomplete
Partially Available
Siemens action required
|  |  | YES | Approved
|  |  | PARTIAL | Approved as Noted
|  |  | NO | Not Approved
Incomplete

## 2. M&V Calculations
M&V Calculation Sheet Requirements - Review Sheet
Ark sign-off
Facility Name: |  |  |  | Reviewers
Ref. No.:
Submittal |  | M&V calculation sheet
Originator of the Submittal:
Reference of Originator
Round | Issued On | Received on | Reviewed on | Assessment | Comments |  |  | ESP Rev | ESP Submissions
1
2
3
[9 empty] | Round 1 | Round 2 |  | Round 3 |  | Round 5
Date of Comments
SN | Consultant's Notes |  |  |  |  | Included | Active Status | Consultant's Comments | ESP's Comments | Consultant's Notes | ESP's Comments | Consultant's Notes | ESP's Comments | Consultant's Notes | ESP's Comments
0 | General Comments
0.1 | Did the ESP include a separate introductory sheet referencing the M&V Plan, reporting period start and end dates, ESP name, target savings, facility name, and client name as the first sheet in the M&V calculation workbook?
1 | Calculation Sheet - Main Table
1.1 | Did the ESP include a separate main calculation sheet showing the baseline data, reporting period data, routine and non-routine adjustments, savings calculations, and comparison with target savings?
2 | Regression Model
2.1 | Did the ESP include a separate sheet for the regression model as per the M&V Plan (applicable where the regression model is used as the routine adjustment model)?
3 | Metered Data
3.1 | Did the ESP include a sample sheet of the extracted 15-minute interval data used to determine energy consumption and other key parameters?
3.2 | Did the ESP include a sample sheet in the workbook showing the tabulated utility bills and solar data, if applicable?
4 | Routine Adjustment of Savings
4.1 | In cases where regression was not the main routine adjustment model, did the ESP clearly present a sample of the routine adjustment model along with a sample table of the independent variables to be captured?
5 | Non-Routine Adjustment of Savings
5.1 | Did the ESP provide a sample sheet for the non-routine adjustments?
5.2 | Did the ESP include a sample sheet listing all non-routine events (operational incident log sheet)?
6 | Uncertainty tests
6.1 | Did the ESP include a separate sheet to quantify any uncertainty issues?
|  |  | APP | Approved
|  |  | AAN | Approved as Noted
|  |  | NA | Not Approved
|  |  | IR | Incomplete
Partially Available
Siemens action required
|  |  | YES | Approved
|  |  | PARTIAL | Approved as Noted
|  |  | NO | Not Approved
Incomplete

## 3. Sample M&V Reports
Sample M&V Reports - Review Sheet
Ark sign-off
Facility Name: |  |  |  | Reviewers
Ref. No.:
Submittal | Sample M&V Reports (Monthly, Quarterly, Annually) | Sample M&V reports (monthly, quarterly, annually)
Originator of the Submittal:
Reference of Originator
Round | Issued On | Received on | Reviewed on | Assessment | Comments |  |  | ESP Rev | ESP Submissions
1
2
3
[9 empty] | Round 1 | Round 2 |  | Round 4 |  | Round 5
Date of Comments
SN | Consultant's Notes |  |  |  |  | Included | Active Status | Consultant's Comments | ESP's Comments | Consultant's Notes | ESP's Comments | Consultant's Notes | ESP's Comments | Consultant's Notes | ESP's Comments
0 | General
0.1 | Did the ESP include a table of contents, list of tables, list of figures, list of abbreviations, and page numbering?
1 | Overview of M&V Report
1.1 | Did the ESP include, at a minimum, the report's issue date, author and reviewer, reference to the relevant M&V Plan, key parties involved, individuals engaged in reporting period activities, and quality assurance procedures and actions taken?
1.2 | Did the ESP include a summary of guaranteed/target savings at the beginning of the M&V report as defined in the approved M&V Plan, a sample of energy savings achieved versus target savings, and a signature space (ESP, Consultant, and Client)?
2 | Project Background
2.1 | Did the ESP include a project overview, facility description, M&V option, measurement boundary, target savings, and ECM intent?
3 | M&V Data Collection Activities Conducted During the Current Reporting Period
3.1 | Did the ESP include, at a minimum, the start and end dates of the measurement period, a description of and findings from inspection activities conducted, and details of operational verification activities conducted (if not yet reported)?
3.2 | Did the ESP include the key parameters collected during the reporting period (utility bills, 15-minute interval data, non-routine events)?
4 | Baseline and Variables
4.1 | Did the ESP include, at a minimum, the Baseline Period (start and end dates, energy consumption data, utility billing cycles, energy costs calculated, and tariff rates used), as well as key parameter data collected (data for independent variables and static factors)?
5 | Electricity Cost
5.1 | Did the ESP include the applicable tariff rate structure as per the M&V Plan?
6 | Meters
6.1 | Did the ESP include the list of utility meters or account numbers used for capturing reporting period energy consumption (primarily for Option C)?
7 | Savings Calculations and Methodology (Including Adjustments, if any)
7.1 | Did the ESP include, at a minimum, a detailed description of the data analysis and methodology, an updated list of assumptions and data sources, and details of any baseline or savings adjustments — including routine and non-routine adjustments to account for any changes? Previous non-routine adjustments shall be included if they impact reported savings.
8 | Verified Savings
8.1 | Did the ESP include, at a minimum, a clear presentation of all energy consumption and cost savings with a comparison to the forecasted/target savings, sources of uncertainty (if any), and details of the values used to calculate the reported savings and their sources?
8.2 | Did the ESP include a summary of non-routine adjustments (NRAs) with monthly values?
|  |  | APP | Approved
|  |  | AAN | Approved as Noted
|  |  | NA | Not Approved
|  |  | IR | Incomplete
Partially Available
Siemens action required
|  |  | YES | Approved
|  |  | PARTIAL | Approved as Noted
|  |  | NO | Not Approved
Incomplete

## 4. Raw Data (hidden)
M&V Raw Data Master Sheet
S.R | Data Points | Unit | Frequency
Main
1 | Chilled Water Production (full Plant) | TRh | Daily
2 | In-Plant HVAC Chilled Water Consumption | TRh | Daily
3 | Plant Main Header Chilled Water Production | TRh | Daily
4 | TES Tank Chilled Water Production | TRh | Daily
5 | Plant Tonnage | TR | 15 mins
6 | Plant Flow (Main Header) | L/s | 15 mins
7 | Plant Return Temperature | oC | 15 mins
8 | Plant Supply Temperature | oC | 15 mins
9 | Total Plant Electricity Consumption | kWh | Daily
10 | Cooling Tower Make Up Water | IG | Daily
11 | Cooling Tower Blowdown Water | IG | Daily
12 | Dry Bulb Temperature | oC | 15 mins
13 | Wet Bulb Temperature | oC | 15 mins
14 | Relative Humidity | % | 15 mins
15 | CDD | degree days | 15 mins
16 | WDD | degree days | 15 mins
17 | TES Tank Flow | L/s | Hourly
18 | TES Tank Return Temperature | oC | 15 mins
19 | TES Tank Supply Temperature | oC | 15 mins
20 | Decoupler Chilled Water Flow | L/s | Hourly
Chiller
21 | Chiller Energy Consumption | kWh | 15 mins
22 | Chiller Load | TR | 15 mins
23 | Chiller Chilled Water Production | TRh | 15 mins
24 | Chiller Flow | L/s | 15 mins
25 | Chilled Water Inlet Temperature | oC | 15 mins
26 | Chilled Water Outlet Temperature | oC | 15 mins
27 | CND Inlet Temperature | oC | 15 mins
28 | CND Outlet Temperature | oC | 15 mins
29 | Chiller leaving Temperature Setpoint | oC | 15 mins
30 | DPT setpoint (Evaporator) | bar | 15 mins
31 | DPT setpoint (Condenser) | bar | 15 mins
32 | Compressor A Run Status | - | 15 mins
33 | Compressor B Run Status | - | 15 mins
Condenser Water Pumps
34 | Condenser Pump Energy Consumption (from EMUs) | kWh | 15 mins
35 | Condenser Pump Flow | L/s | 15 mins
36 | Run Status | - | 15 mins
37 | Output Frequency | % | 15 mins
Cooling Towers
38 | Cooling Tower Fan Energy Consumption | kWh | 15 mins
39 | Cooling Tower Inlet Temperature | oC | 15 mins
40 | Cooling Tower Outlet Temperature | oC | 15 mins
41 | Cooling Tower Approach Setpoint | oC | 15 mins
42 | Run Status | - | 15 mins
43 | VFD Feedback | % | 15 mins
Primary Pumps
44 | Primary Pump Energy Consumption | kWh | 15 mins
45 | Run Status | - | 15 mins
46 | VFD Feedback | % | 15 mins
Secondary Pumps
47 | Secondary Pump Energy Consumption | kWh | 15 mins
48 | Secondary Pump Flow | L/s | 15 mins
49 | Secondary Header Chilled Water Supply Temperature | oC | 15 mins
50 | Secondary Header Chilled Water Return Temperature | oC | 15 mins
51 | Run Status | - | 15 mins
52 | VFD Feedback | % | 15 mins
53 | DPT Setpoint | bar | 15 mins
FAHUs/AHUs
54 | FAHU/AHU Energy Consumption | kWh | 15 mins
55 | FAHU/AHU setpoint | oC | 15 mins
56 | FAHU/AHU Supply Air Temperature | oC | 15 mins
57 | FAHU/AHU Return Air Temperature | oC | 15 mins
58 | Run Status | - | 15 mins
59 | VFD Feedback | % | 15 mins
Alarms
60 | Refrigerant Leak Detection System | - | -
61 | Chilled Water Leak Detection System | - | -
62 | Chemical Dosing System | - | -
63 | Power fail (for any equipment) | - | -
64 | Chiller CMS panel alarms | - | -